## Sheet1
Responses to Questions from Bidders: |  | Last Update: 11/24/2025 @ 2:00 pm
See responses below of the current outstanding questions. As responses are updated they will be highlighted in the color indicated by that date and time below.
Any question left unanswered is being worked on, and will be updated as soon as possible, but no later than the deadline below (11/26/25).
It is the responsibility of the bidder to check back for updates prior to submission of bid. No changes will be made to this document after the response deadline below (11/26/25).
Due date for all question is 4:30pm Friday, November 21, 2025.
All responses will be posted to the website no later than 4:30pm Wednesday, November 26, 2025
11/19/25 11:00 am
11/21/25 8:16 am
11/21/25 4:13 pm
11/24/25 2:00 pm
General Questions
1 | Is there a method for vendors to submit their sealed bids electronically for the project?
No, all bids must be mailed or dropped off in person to 5700 Pine Island Rd. Bokeelia, FL 33922 by the instructions in the ITB.
2 | Is there access to the current property?
Yes, you are welcome to walk the current property. However, please let us know that you will be going by so that we can give the crew a heads up.
3 | Provide the total project duration in calendar days from mobilization to substantial completion and final completion.
The anticipated project duration in calendar days is approximately 575 days. 6 months estimated for site work and 12 months for construction.
4 | Has a geotechnical report been obtained?
Yes, It will be uploaded to the website under "Additional Documents" heading.
5 | Have building permits been filed/pulled?
Yes, the DO and initial building permits have been pulled with the county and should be ready to go once a contract is agreed upon.
6 | When is the notice to proceed expected?
There is a timeline on the website and included in the ITB.
7 | What is the website again?
https://www.pineislandfire.org/station-2-invitation-to-bid
8 | Was this a mandatory pre-bid
No
9 | Is retainage for the monthly progress payment 5% or 10%?
The retainage is mentioned in the sample contract, but this is not binding and will be part of the negotiation of contract with the awarded bidder.
10 | The 3 phases indicated on the phasing plan Civil sheet 05A looks incorrect. There are 4 phases in this project as indicated in attachment F - Scope of Work. Also confirm if the phase 4 - construction of the store building will be part of the 12-month total project duration.
The 4 phases on the scope break out the demolition and temporary facilities, this is how the county wanted us to do it to make sure that everyone was bidding the same items. The three phases on the Civil plan combine the temporary living facility and the demolition into Phase 1.
Demolition
11 | Is this a full structural demolition?
Yes, the entire current structure will be demoloshied.
12 | Are there contents included in the demolition of the current building?
Most of the unattached contents will be taken to the temporary facility with the crew. For example, but not limited to, beds, recliners, tables, TV, computers, radios, tools, lockers, gym equipment, ice machine.
All attached fixtures will remain in the structure along with the appliances, unless the temporary facility does not have them included, in which case they can be taken from the current structure for use in the temporary facility. For example but not limited to, Refridgerator, Stove/Oven, microwave, dishwasher, washer/dryer.
13 | Is there an asbestos report for the current building to be demolished.
There will be an asbestos report uploaded once it is received under the "Additional Documents". We expect to have it by Dec 1st.
The Asbostos report has been uploaded to additional documents section.
14 | Provide building demolition plan
You are welcome to walk the site and see inside the structure, see the response above pertaining to the contents that will/will not be removed.
15 | Civil drawing sheet 4 indicates the following. "Contractor to locate existing septic tank and abandon per all applicable rules and regulations". There is not enough information to price the decommissioning, removal, and disposal of the existing septic system. Please advise
Unfortunately due to the age of the fire station, there is no permit history on the existing septic system so there is no further information that can be provided.
16 | Civil drawing sheet 4 indicates the following. "Contractor to remove and salvage existing fuel tank for re-use". There is not enough information to price the decommissioning, removal, and salvage of the existing fuel tank. Please advise
The intent is to relocate the tank by the new carport in the back for use while the new station is being built. See revised sheet A-1A.
Temporary Facility
17 | It is noted that access to the temporary facility is needed, but not the type of road needed for fire truck access. Does this need to be paved?
See page 9 of the Station 2 Civils. "Install stabilized subgrade for future asphalt area"
18 | For the temporary facility, are there specifics as to the living quarters and tent to house the truck?
The basis of design is Willscot Trailers as per sheet A-1A. The notes have been updated clarifying the layout intent and power requirements. Also reference the updated civil drawing 7A.
19 | Is the temporary facility only to house fire or EMS as well?
The temporary facility is to only house two firefighters.
20 | Please provide a list of all the items to be included in the scope of work by the contractor for phase 1 temporary facility.
See revised architectural sheet A-1A for the temporary facility information and revised Civil sheet 7A. Yes, the contractor is responsible for all of the sitework, utilities, trailer and carport for the temporary facilities. The carport and pad by the temporary trailer is permanent . Civil sheet 5A lists the breakdown of the 3 phases.
21 | Also provide the scope of work for the 2 temporary concrete pads indicated on drawing A-1A and civil sheet 5.
See revised architectural sheet A-1A for the temporary facility information and revised Civil sheet 7A. Yes, the contractor is responsible for all of the sitework, utilities, trailer and carport for the temporary facilities. The carport and pad by the temporary trailer is permanent . Civil sheet 5A lists the breakdown of the 3 phases.
22 | Phase 2 of this project requires a temporary fire station facility. Also a temporary access road for fire trucks and equipment will be required for operation of this facility. Please provide the scope of work and location of this temporary fire road
See page 9 of the Station 2 Civils. "Install stabilized subgrade for future asphalt area"
See Civil sheet 7A and Architectural sheet A-1A
Station Construction
23 | Please provide the landscape plans
It will be uploaded to the website under "Additional Documents" heading.
24 | Who will be responsible for the cost of construction materials testing and private provider building inspection services? And what are the other special testing and inspection services required for this project?
The district will be responsible for the cost of construction materials testing and private provider building inspections and any other special testing and inspection services required.
25 | There is note of the low volt conduit and wiring, however no note of where the equipment is coming from or who is responsible for installation. Is this a part of the bid?
The conduit and wiring should be included in the bid for all parts of low volt noted. There will be vendors hired outside of the contract (by the district) to complete the installation of the dispatch radio and speakers as well as the security system.
26 | There is note that the fence and gates are to be done “by others” is this to be included in the bid?
Yes, the specs on the gates and fence will be uploaded to the website under "Additional Documents" heading.
The updated civil drawings provide a basis of design and a spec. section has been added. However, the sliding gates have been removed from the scope. The power still needs to be installed for a future gate.
27 | Are there any additional coatings required for interior metals, due to the proximity to the water?
No additional requirements or coatings needed.
Galvanized G90 coating as per metal framing spec. section 05 40 00.
28 | There is note of the fuel stations/tanks, but it does not specify if they are to be completed by the contractor or third party
See clarification notes on revised GE-1. This is the responsibility of the Contractor.
29 | Provide existing surveying drawing indicated on Civil Set Sheet 2 and Geotechnical Report.
It will be uploaded to the website under "Additional Documents" heading.
30 | Civil drawing Sheet 5 indicates proposed rolling chain link gate, chain link fence, and proposed 24-ftx40-ft concrete pad with covered carport by others. Please advise
Yes, the specs on the gates and fence will be uploaded to the website under "Additional Documents" heading.
31 | Architectural drawing GE-1 indicates a new facility fuel system. Please provide the scope of work of the facility fuel system to be performed by the general contractor
The contractor is responsible for hiring a vendor to provide the fuel tanks and generator. Clarification notes have been added for basis of design for the fuel tanks.
Storage Facility Construction
32 | Please provide the structural plans for the storage facility.
It will be uploaded to the website under "Additional Documents" heading.
33 | On the storage facility, it looks to have a covered awning. Are there details to what this is/made of?
This should be answered by the structural plans uploaded to the website under "Additional Documents"
The design intent is pre-engineered aluminum designed by an awning/canopy manufacturer. The contractor is responsible for hiring the aluminum awning/canopy company.
34 | Is the large pre-engineered post supported aluminum canopy indicated on the storage building architectural drawing A-2 part of this project? Provide design.
Yes, its intended to be pre-engineered aluminum designed by an awning/canopy company hired by the general contractor.
Additional Questions from 11/21/25
35 | There appear to be two proposed transformer locations on the civil plans and only one on the electrical site plan. Please clarify transformer location or advise as to which location should be utilized for secondary wiring takeoffs.
See updated electrical drawings
36 | Is there a manufacturer specification or performance spec for proposed Bahama shutters?
No. 170 mph rating.
37 | Is easement drafting as proposed on sheet A-1 to be included in GC bid?
No
38 | Please clarify intent for pre-engineered carport structure in terms of sizing and style. There are a wide variety of options to meet wind speed only.
The size and clear heights are provided on the plans. It’s a canopy for a storage building, simple aluminum structure for weather protection. I.E. Prefabricated extruded aluminum or composite panels with a gutter system.
39 | Is there a specification or additional sizing information which can be provided for “PVC Decorative Rafter Tails”? There are numerous products available for satisfy this description but costs vary greatly depending on manufacturer.
Similar to this: https://www.architecturaldepot.com/BUILDER-RFT.html?CustomerSku=RFTPO040X06000X24000X006CLE00
40 | Is there a preferred manufacturer for proposed “24” x 28” PVC Brackets?
No
41 | Are alternate storefront door/window manufacturers which meet proposed performance intent acceptable?
The following manufacturers have systems which compare comparably to the specified system:
a. Coral Industries/Old Castle
b. ES Windows
c. Kawneer
d. Eco Window (Casement Egress Windows)
As long as they have level E impact rated glass then an alternate is acceptable. Also, the fire station specifically requested all grids must be inside the glass.
42 | Are energy calculations available for review?
Yes, they have been uploaded to the "Additional Documents"
43 | Item G 07 41 13 Metal Roof Panels is missing from the specifications. Can this be made available?
Yes, See the updated specs
44 | What is the selected bollard material for this project? Civil drawings indicate schedule 40 galvanized steel bollard and Architectural drawings indicate stainless steel bollard. Please advise.
The stainless bollards with the threaded base are for the piling displays only.
45 | Provide the correct contact information of the generator vendor selected for this project. We contacted Ken Murphy from Generac as indicated on the drawings and the email did not go through.
Try reaching out to the local Generac vendor rep. Stephen Thorstad Power Generation Sales, West Coast 5750 Zip Drive Fort Myers, FL 33905 Phone: (954) 956-9252 Cell: (239) 888-5626 Email: sthorstad@gensetservices.com Website: www.gensetservices.com
46 | The bid submission is scheduled on December 8, 2025. I am writing to respectfully request an extension of the bid submission deadline. Due to the additional documents and revised drawings provided with the RFI's answers, Chris-Tel Construction requires
additional time to ensure the estimate is properly completed. Would it be possible to extend the Bid Submission deadline? I appreciate your understanding and consideration.
We will extednd the deadline to December 19th at 4:00 pm with openings on Monday December 22nd at 2:30 pm. Please see the addenda uploaded to the website.